## Slide 1: An electro-magnetic flow sensor for measuring the axial speed of gliders
Southampton, England
Date: September 29, 2016
Presenter: Fabian Wolk
fabian@rocklandscientific.com

## Slide 2: The Velocity Shear Probe
Notes: How can we measure ocean turbulence?

## Slide 3: The Issue:
pitch

## Slide 4
Where Vg = 56.075 ×10-3m3
mg = 57.56 kg
A = 0.1m2
and ΔVbp & θ from sensors
CD0 and CD1 are drag coefficients (due to parasitic and induced drag) dependent on α
G = mixing efficiency
U
w
θ
α
θ
α
Accounting for the angle of attack, α
γ
Total glide angle,
We employ the hydrodynamic flight model of Merckelbach et al, 2010;
Balancing buoyancy and gravitational forces
slide by Matthew Palmer, NOC Liverpool
OMG: Flight model (Merckelbach et al, 2010)

## Slide 5: Electromagnetic Current Sensor: Operating Principle
1831, Michael Faraday
  electromagnetic induction
N number of windings
B magnetic field
A cross section of coil

## Slide 6: Electromagnetic Current Sensor: Operating Principle
1930, Father Bonaventura Thürlemann
  Inventor of the electro-magnetic current meter (”mag” meter)

## Slide 7: Electromagnetic Current Sensor: Operating Principle
U

## Slide 8: MicroRider configuration

## Slide 9: SeaExplorer configuration

## Slide 10: MicroPod-EM configuration
Dimensions | Φ30mm, L 240 mm
Weight | 550 g (in air), 310 g Iin sea water)
Power Input (V) | 9 – 18 VDC
Power consumption | 85mA typical
Signal output | Choice of Analog (0-5V) or RS-232C
Depth rating | 1000m

## Slide 11: Laboratory and Flume
• Does not require any seeding of acoustic scatterers

## Slide 12: Seaglider configuration

## Slide 13: General Sensor Specifications
Measurement principle | Electromagnetic induction
Measurement direction | 1-D axial
Measurement range | 0 to 5m/s
Data output | Analog (0-5V) or RS-232C (MicroPod-EM only)
Accuracy, analog output | larger value of ±0.025m/s or ±5%
Accuracy, digital output | larger value of ±0.005m/s or ±2%
Frequency resolution | TBD (estimated at 5Hz)
Measurement resolution (A/D) | 0.001m/s
Sensor head dimensions | Φ30mm, L 85.5 mm
Power Input (V) | 4.85V - 5.15V
Power consumption | 85mA typical (approximately 0.5 W)
Depth rating | 1000m

## Slide 14: FloWave TT tests

## Slide 15: FloWave

## Slide 16: Summary
Small EM flow meter provides a direct measurement of the axial speed U of gliders
This is useful for scaling signals of sensors, particularly shear probes
May be useful to inform/improve glider flight models
Integration in various glider platforms